Concrete Pad - 95'w x 135' l, 6" thick with 12" footer, and 3 drains located at 33 3/4', 67 3/4', & 101 1/4'. Grade work will be completed prior to the job within 3-4"of level.

Concrete Pad - 36'w x 25' l, 6" thick with 12" footer, 1 drain in middle of pad. Grade work will be completed prior to the job within 3-4"of level.

Concrete Pad - 42'w x 26' l, 6" thick with 12" footer, 1 drain in middle of pad. Grade work will be completed prior to the job within 3-4"of level.